Washington County Health Department

1302 Pennsylvania Avenue

Hagerstown, MD 21742

240-313-3216

Washcohealth.org

RFQ-2020-03

Parking Lot Filling Cracks, Sealing, Line Stripping and Curb Painting

August 12, 2019

REQUEST FOR QUOTATION

RFQ-2020-03

NOTES:

1.  Quoted prices are to be net thirty (30) calendar days:

All discounts are to be deducted and reflected in net prices.

2.  The Washington County Health Department reserves the right

to reject any and/or all quotes, to waive any technicalities in the

quote, and to take whatever action is in the best interest of

Washington County Health Department.

3.  The Washington County Health Department is exempt from State

of Maryland Sales Tax.  The Washington County Health

Departments sales tax exemption number is 30001292

Company Name:___________________________________

Address:__________________________________________

__________________________________________________

Contact Name:____________________________________

Contact Title:_____________________________________

DESCRIPTION

REQUEST FOR QUOTATION

THIS IS NOT AN ORDER

DATE ISSUED:

8/12/19

RETURN QUOTATIONS TO:

Washington County Health Department Purchasing Department, Room 306

1302 Pennsylvania Avenue

Hagerstown, MD 21742

Attention:  Brenda Cole, Procurement Specialist

Telephone:  240-313-3216

Email: ____________________________________________

Parking Lot Filling Cracks, Sealing, Line Stripping and Curb Painting

RFQ-2020-03

QUOTATION DUE:  Monday, September 9, 2019, no later than 10:00 a.m. and must be time-stamped in the Procurement Office.  Opening of quotations will follow.  Interested parties are invited to attend.

QUOTATIONS TO BE ADDRESSED TO:  Washington County Health Department Purchasing Office, Attn:  Brenda Cole, Procurement Specialist, 1302 Pennsylvania Avenue, Room 306, Hagerstown, MD 21742 and enclosed in a sealed opaque envelope marked “QUOTATION – Parking Lot” and bearing the vendor’s name.

Having received clarification on all items of conflict or upon which any doubt arose, the undersigned proposed to furnish all labor, materials and equipment called for by said specifications and instruction for the cost as specified on the attached Quotation Proposal Form.

NOTE:  Page 1 and 2 must be completed and returned with the quotation Proposal Form.

We quote you as above – F.O.B.______________	Acknowledge Addenda #_____Date_______

Office Signature__________________________  	#______Date______, #______Date_______

Name Printed____________________________	Email_______________________________

Telephone Number_______________________	Date________________________________

RFQ-2020-03

REQUEST FOR QUOTATION

Parking Lot Filling Cracks, Sealing, Line Stripping and Curb Painting

NOTICE TO QUOTERS & INSRUCTIONS

- QUOTATION SUBMISSION:  Proposals, to be entitled for consideration, must be made in accordance with the following:

A.	Proposals shall be made on the forms provided.  Numbers shall be stated 				both in writing and in figures.  Quotations must be signed in writing by

the Quoter, or an authorized agent of the Quoter, if the Quoter is a

Corporation.

B.	Proposals shall not contain any recapitulation of work to be done.  NO

oral proposals or modification will be considered.  Proposals shall be

legible, clearly stated in numbers and in writing.  Erasures or changes in

quotations must be initialed.  When an error is made in extending total

prices, the written unit quotation price will govern.  Carelessness in

quoting prices, or in preparation or quotation otherwise, will not relieve

the Vendor.

C.	Proposals shall be delivered promptly on or before time, date and time

stipulated herein.  NO quotations received after such stipulated time and

date will be considered by the Washington County Health Department.

Quotations received after this time will be returned up-opened.  The

Washington County Health Department assumes no responsibility for the

timely deliverance of mailed quotations.  Ample time should be allowed

for the transmittal of quotations by mail, and postmarks indicating the

date of mailing will not be considered as evidence of intent to submit

quotations in proper time for the opening.

2.  	ACCESS TO SITE:  Quoters may gain access to the parking lot by contacting Steve

Christman, Maintenance Supervisor at 301-331-7174.

3.	AWARD OF CONTRACT:  The total sum quotation will be used as the basis for

evaluation and award.  If an award of Contract is made, it will be made to the

responsive, responsible Quoter who submits the lowest total sum quotation.

Carelessness in quoting prices, or in preparation of quotation otherwise, will not

relieve the Quoter.

4.	DISPUTES:  In cases of disputes as to whether or not an item or service quoted or

delivered meets specifications, the decision of the Washington County Health

Department shall be final and binding on both parties.

5.	EQUAL OPPORTUNITY:  The Washington County Health Department does not

discriminate on the basis of race, color, national origin, sex, religion, age and

disability in employment or the provision of services.

6.	EXCEPTION:  The submission of a quote shall be considered an agreement to all

items, conditions, and specifications provided herein and in the various

quotation documents unless specifically noted otherwise in the proposal.

7.  	FORM OF CONTRACT:  The successful Quoter shall promptly enter into a

contract with the Washington County Health Department within ten (10)

calendar days after notification of award.

8.	GENERAL:  The Request for Quotation form, This Notice to Quoters and

Instructions, the Specification and the Quotation Form, bound herewith, shall be

deemed a part of the contract documents for any and all divisions of the work

and shall be referred to in interpreting said contact.

9.	INSURANCE:  The successful Consultant must show upon request and prior to

execution a contract or issuance of Purchase Orders the agreement as required

by the Washington County Health Department during the term of the contract

evidence of appropriate insurance as outline in the attached copy of the

Washington County Policy N. P-4 – Insurance Requirements for Independent

Contractors.  The project shall be identified on the certificate and Washington

County Health Department shall be named as additional insured on the

certificate of insurance.

10.	INTERPRETATION, DISCREPANCIES, OMISSIONS:  Should any Quoter find

discrepancies in, or omissions from the documents, or be in doubt of their

meaning, or feel that the specifications are discriminatory, he/she should at once

request in writing, an interpretation from:  Brenda Cole, Procurement Specialist,

1302 Pennsylvania Avenue, Hagerstown, MD  21742, email:

Brenda.cole@maryland.gov.  All necessary interpretations will be issued to all

Quoters by the Washington County Health Department in the form of addenda

to the specifications and such addenda shall become part of the Contract

Documents.  Exceptions taken in no way obligates the Washington County

Health Department to change the specifications.  Failure of any Quoter to

receive any such addendum or interpretation shall not relieve such Quoter from

any obligations under his quote as submitted.  The Washington County Health

Department will assume no responsibility for oral instructions or suggestions.

ORAL ANSWERS WILL NOT BE BINDING ON THE WASHINGTON COUNTY

HEALTH DEPARTMENT.  No request for clarifications received after 4:00 p.m.,

local time, Monday, August 26, 2019 will be considered.

11.	PAYMENT:  Invoice shall be submitted to the Washington County Health

Department following the completion of the work.  The invoice shall include the

amount stipulated on the Form of Proposal for the service provided.  Payment

will be made within thirty (30) calendars from receipt of invoice.

12.	PAYMENT OF COUNTY AND MUNICIPAL TAXES:  Effective October 1, 1993, in

compliance with Section 1-106(b)(3) of the Code of the Public Locals Laws of

Washington County, Maryland, “If a Bidder has not paid all taxes owed to

Washington County or a municipal corporation in the County, The Washington

County Health Department may reject the Bidder’s bid.”

13.	QUOTATION PRICES:  Quotation prices are to be net thirty (30) calendar days.

14.	RESERVATIONS:  The Washington County Health Department reserves the right

to accept or reject any or all bids, to waive formalities, informalities and

technicalities herein.  The Washington County Health Department reserves the

right to contact a Bidder for clarifications and may, at its sole discretion, allow a

Bidder to correct any and all formalities, informalities and technicalities in the

best interest of the Washington County Health Department.

15.	RESPONSIBILITY AND QUALIFICATIONS:

A.  Each Quoter submitting a proposal for this work shall first examine the sites,

verify any dimensions pertinent to the work, and thoroughly satisfy 			 	      himself/herself to the conditions under which he/she will operate or that will

in any manner affect any work under his/her Contract.  The Quoter shall

accept the sites as he/she finds them.  All proposals shall take into

consideration all conditions that may affect the work.  No allowance shall be

made to any Quoter for negligence in this respect.

B.  The Washington County Health Department may make such investigations as

it deems necessary to determine the ability of the Quoter to perform the work,

and the Quoter shall furnish to the Washington County Health Department all

such information and data for this purpose as the Washington County Health

Department may request.  The Washington County Health Department

reserves the right to reject any bid if the evidence submitted by or investigation

of, such Quoter fails to satisfy the County that such Quoter is properly qualified

to carry out the obligation of the contract and to complete the work

contemplated therein.  Conditional quotation will not be accepted.

C.  A Quoter, if requested, shall submit evidence that he/she maintains a

permanent place of business, has had at least three (3) successful years’

experience in providing such  services at similar facilities, has available

or can obtain personnel, and has equipment and financial resources to

undertake and perform the contract properly and expeditiously if the contract

is awarded to him/her.

D.  Each firm submitting a proposal must be licensed to operate in Washington

County and must have adequate personnel and equipment available at all

times to handle routine services and emergencies.

E.  In determining responsibility, the following qualifications, in addition to price,

shall be considered:

1.  The ability, capacity and skill of the Bidder to perform the service required.

2.  The character, integrity, reputation, judgment, experience and efficiency of

the Bidder.

3.  The quality of performance of previous contracts or services.

4.  The Bidder’s previous and present compliance with laws and ordinances

relating to the contract or service.

5.  The sufficiency of the financial resources and ability of the Bidder to perform

the contract or provide the service.

6.  The quality, availability and adaptability of the supplies, or services, to the

particular use required.

7.  Whether the Bidder is in arrears to the Washington County on a debt or

contract or is a defaulter on surety to the Washington County Health

Department or Washington County.

8.  Such other information as may be secured having a bearing on the decision

to make the award.

16. 	 TERMS OF CONTRACT:

A.  This contract shall be effective for one (1) year.

B.  If the Contractor fails to comply with the specifications, he will be given ten

(10) calendar days’ notice to render satisfactory service.  If at the expiration of

such ten (10) calendar days’ notice, the unsatisfactory conditions have not been 		     corrected, Washington County Health Department reserves the right to cancel

the contract.

17. 	TOTAL SUM QUOTATION:  A total sum quotation is being requested for the work.

The Base Quotation shall include the cost of any cost of all applicable seals and

other taxes required by local, state and federal laws, the cost of bonds and

insurance, permits, the cost of all material, labor, tools, equipment,

transportation, landfill user fees, to complete the project as described in the

specifications.

REQUEST FOR QUOTATION

RFQ-2020-03

Parking Lot Filling Cracks, Sealing, Line Stripping and Curb Painting

- GENERAL DESCRIPTION:  The Washington County Health Department is seeking proposals for the sealcoat, crack filling, line stripping and curb painting at 1302 Pennsylvania Avenue, Hagerstown, MD 21742.

- SCOPE OF WORK:  Sealcoat approximately 75,029 square feet with two (2) coats of commercial grade asphalt sealer fortified with 2-3 lbs. of sand added per gallon and with rubber and latex additives to provide a durable non-slip surface.

A.	Trim all grass from edges of area to be sealed

B.  Clean area to be sealed with high powered air sweepers

C.	Treat and prime oil spots as needed with acrylic oil spot primer to prevent bleed 	through and allow sealer to adhere to oil spot

D. Prepare and fill approximately 3,460 LF of cracks and/or pavement seams with hot 	applied ASTM 3405D seam sealer

E.	Apply 1st coat of sealer and allow to dry

F.  Apply 2nd cost of sealer and allow to dry

G.	Line stripe as presently designed with white traffic paint—All arrows, centerline, cross

hatch areas, handicap symbols and parking stalls

H.	Clean red paint off curb and repaint with red traffic paint fortified with sand –

approximately 650 linear feet

I.	Work should be warrantied for at least one (1) year.

3.          MATERIALS:  All materials used shall conform to Federal, State and local ordinances and

laws.

RFQ-2020-03

QUOTATION PROPOSAL FORM

Item No.			Description/Written Unit Price                     Unit            Qty                   Unit Price                    Total Price

1.		Sealcoat Parking Lot (as specified)

_______________________________________Dollars		Each            1		$___________		$____________

(Written)							    	      (Figures)		       (Figures)

_______________________________________Cents

(Written)

2.		Linestrip (Parking stalls, handicap symbols, arrows,

cross hatch)

___________________________________Dollars		Each	      1		$___________		$____________

(Written)								       (Figures)		        (Figures)

______________________________________Cents

3.		Curb Painting (as specified)

_______________________________________Dollars		Each            1		$___________		$____________

(Written)							    	      (Figures)		       (Figures)

_______________________________________Cents

(Written)

4.		TOTAL BASE QUOTATION OF ITEMS 1,2 & 3

_______________________________________Dollars		Each            1					$____________

(Written)							    			   	    (Figures)

_______________________________________Cents

(Written)

_____________________________________

Company Name

_____________________________________

Signature

_____________________________________

Date

#### POLICY TITLE:			Insurance Requirements for

###### Independent Contractors

POLICY NUMBER:			P-4

ADOPTION DATE:			August 29, 1989

EFFECTIVE DATE:		September 1, 1989

FILING INSTRUCTIONS:		______________________________________________________

I.	PURPOSE

To protect Washington County against liability, loss or expense due to damaged property, injury to or death of any person or persons and for care and loss of services arising in any way, out of, or in connection with or resulting from the work or service performed on behalf of Washington County.

II.	ACTION

The following should be inserted in all Independent Contractor Contracts:

"The Contractor shall procure and maintain at his sole expense and until final acceptance of the work by the County, insurance as hereinafter enumerated in policies written by insurance companies admitted in the State of Maryland, have A.M. Best rating of A- or better or its equivalent, and acceptable to the County."

1.	Workers Compensation:  The Contractor agrees to comply with Workers Compensation laws of the State of Maryland and to maintain a Workers Compensation and Employers Liability Policy.

Minimum Limits Required:

Workers Compensation -	Statutory

Employers Liability  -		$100,000 (Each Accident)

$500,000 (Disease - Policy Limit)

$100,000 (Disease - Each Employee)

2.	Comprehensive General Liability Insurance:  The Contractor shall provide Comprehensive General Liability including Products and Completed Operations.

Minimum Limits Required:

$1,000,000 combined single limit for Bodily Injury and Property Damage.

Such insurance shall protect the County, its agents, elected and appointed officials, commission members and employees, and name Washington County on the policy as additional insured against liability, loss or expense due to damaged property (including loss of use), injury to or death of any person or persons and for care and loss of services arising in any way, out of, or in connection with or resulting from the work of service performed on behalf of Washington County.

Policy P-4

2.	Comprehensive General Liability Insurance (continued)

The Contractor is ultimately responsible that Subcontractors, if subcontracting is authorized, procure and maintain at their sole expense and until final acceptance of the work by the County, insurance as hereinafter enumerated in policies written by insurance companies admitted in the State of Maryland, have A.M. Best rating of A- or better or its equivalent, and acceptable to the County.

3.	Business Automobile Liability:  The Contractor shall provide Business Auto Liability including coverage for all leased, owned, non-owned and hired vehicles.

Minimum Limits Required:

$1,000,000 combined single limit for Bodily Injury or Property Damage.

Certificate(s) of Insurance:  The Contractor shall provide certificates of insurance requiring a 30 day notice of cancellation to the Insurance Department, Board of County Commissioners of Washington County prior to the start of the applicable project.

Approval of the insurance by the County shall not in any way relieve or decrease the liability of the Contractor.  It is expressly understood that the County does not in any way represent that the specified limits of liability or coverage or policy forms are sufficient or adequate to protect the interest or liabilities of the Contractor.

All responsibility for payment of any sums resulting from any deductible provisions, corridor, or self-insured retention conditions of the policy or policies shall remain with the Contractor.

General Indemnity:  The Contractor shall indemnify, defend and save harmless the Board of County Commissioners of Washington County, its appointed or elected officials, commission members, employees and agents for any and all suits, legal actions, administrative proceedings, claims, demands, damages, liabilities, interest, attorney’s fees, costs and expenses of whatsoever kind of nature, whether arising before or after final acceptance and in any manner directly or indirectly caused, occasioned or contributed to in whole or in part by reason of any act, error or omission, fault or negligence whether active or passive by the Contractor, or any one acting under its direction, control or on its behalf in connection with or incident to its performance of the Contract.

Revision Date:		August 27, 1991

Effective Date:	August 27, 1991

Revision Date:		March 4, 1997

Effective Date:	March 4, 1997